

Name: - Ankit sadarang,

BE second year electrical,

College: - K.D.K.C.E. Nagpur, Maharashtra.

Email id: - ankitsadarang@gmail.com                             Contact no.-9372460413

Abstract— An energy audit is a preliminary activity towards instituting energy efficiency programs in an establishment. It consists of activities that seek to identify conservation and management opportunities preliminary to the development of an energy savings program. Energy management is a structured approach designed to manage energy usage and reduce energy costs, raising productivity and creating a better work environment. Energy audit is surveys, inspection and analysis of consumption of power. The energy audit results in better energy management which results in energy conservation. Energy audit attempts to balance total input of energy with its use which reduces the cost. The identified energy conservation opportunities should be analyzed in terms of the costs of implementing the project versus the benefits that can be gained by energy audit.

Energy audit and management is only to conserve energy and reduce the cost.

I. INTRODUCTION

To institute the correct energy efficiency programs, we have to know first which areas in our establishment unnecessarily consume too much energy, which is the most cost-effective load. An energy audit identifies where energy is being consumed and assesses energy saving opportunities so you get to save money where it counts the most.

Energy audit broadly covers the following questions:-

1) How much energy are we consuming?

2) Where is the energy consumed?

3) How efficiently is energy consumed?

4) Can there be improvement in energy use?

Energy management is a structured approach designed to manage energy usage and reduce energy costs, raising productivity and creating a better work environment. The goal of an Energy Manager is to produce a building that uses the least possible energy while maintaining optimal levels of comfort, safety and productivity.

The relation between energy audit and the management of energy is as given in the fig.(1)

.

*Surveys,

ENERGY AUDIT       *Inspection,

*Analysis.

ENERGY MANAGEMENT

ENERGY CONSERVATION

COST REDUCTION

Fig (1):-The relation  between  energy audit and the management of energy

# 2. IMPORTANCE OF ENERGY AUDIT AND Management

An energy audit becomes the best first step towards saving money in the production plant.  Wide-scale resource conservation and emissions reduction projects require a system of reward and punishment but there is no way to implement this kind of system unless energy audits are conducted   more fairly and become more effective overall. For example, green architecture is an important    opportunity   for energy conservation amidst urbanization, yet even when real estate companies try to invest in energy conservation, the companies still look for the greatest profits and do not always meet existing building conservation   standards.  Thus, strict  implementation  of energy  audit  is  necessary  for  industries  as  they develop towards energy and  sources conservation. Here importance of energy audit in home and industry is given:-

HOME ENERGY AUIDT:-

A home energy audit is often the first step in making your home more efficient. An audit can help you assess how much energy your home uses and evaluate what measures you can take to improve efficiency. But remember, audits alone don't save energy it only provides energy status. You can perform a simple energy audit yourself, or have a professional energy auditor perform a more thorough audit. Lower energy bills and increased energy savings: a detailed report will prioritize cost effective measures that you can take to ensure your home runs more efficiently.

Fig (2):- Energy audit and the management of home

# industrial energy audit:-

Energy Audit is the beginning of Energy Saving in a plant and is recommended for almost all the Industries - irrespective of size and type. Industrial customers seeking to improve energy efficiency and cut operating costs should seriously consider having an industrial energy audit performed. Industrial audits can encompass the entire facility, or may be customized to meet your needs.

Industrial energy audit gives us following benefits:-

- Improved comfort levels

- Improve lighting levels

- Lower maintenance costs

- Reduce A/C Load

- Ability to track energy savings

OTHER IMPORTANCE OF ENERGY AUDIT:-

1) Compliance with Government regulations

2) Lower energy costs.

3) Enable faster recovery of investments.

4) Achieve better performance and lower downtime.

5) Enhanced power quality and productivity.

6) Reduced loss levels.

7) Improved Age of Equipment and complete system.

3 AUDIT STEPS

Generally there are some steps which are followed to make the audit and energy management:-

- Measure:- Set up an energy monitoring and reporting

System which will measure total energy

Consumption

- Conduct Audit: - surveys, inspection and analysis of consumption of power can be done after measurements.

- Execute and Formulize an Energy Policy Statement - energy consumption reduction (electricity, Fuel oil, gas, petrol, etc.)

- Recommendation: - Prepare and undertake detailed implementation plan and recommend the ideas for energy conservation.

- Implement staff awareness and training programs.

Fig (3):- Steps of Energy audit and the management

This all steps help us to better management of energy which helps us in energy conservation.

4. INDIAN ENERGY SCENARIO

India is one of the countries where the present level of energy consumption, by world standards, is very low. The estimate of annual energy Consumption in India is about 330 Million Tones Oil Equivalent (MTOE) for the year 2004. Accordingly, the per capita consumption of energy is about 305 Kilogram Oil Equivalent (KGOE). As compared to this, the energy consumption in some of the other countries is of the order of over 4050 for Japan, over 4275 for South Korea, about 1200 for China, about 7850 for USA, about 4670 for OECD countries and the world average is about 1690.

On the supply side, the miss-match between demand and supply is so large that India can ill-afford to choose one option in preference to the other. For several years, in fact may be for next few decades, India would need to exploit all possible options to create reasonably large capacity base on the energy side.

Sector wise consumption of electricity during 2011-12

Total consumption = 609457 GWH

Agriculture          =            20%

Domestic              =           23%

Commercial	      =           10%

Industry 			      =            38%

Traction and railways =      2%

Other                   =             38%

From this table it is clear that if we concentrate on energy consumption of domestic, commercial, industry where energy audit and management can be don easily then  more energy conservation can be done in this sector. The important thing to remember is to focus on major energy users and areas to conserve energy.

5. MANAGMENT AND CONSERVATION OF

ENERGY

There are some basic approaches to enable energy efficiency, which are as follows:

1. Improvement of Power Factor: - power factor improvement is very necessary to conserve the power. There are some ways which are use for Improvement of Power Factor:-

1) Using the correct sized motor for a particular job

2)  Shutting off unused motors

3) Installing a capacitor.

2. Use high energy star rated loads:- Energy star international standard for energy efficient consumer products originated. Devices carrying the Energy Star service mark, such as computer products and peripherals, kitchen appliances, buildings and other products, generally use 20%–30% less energy than required by federal standards.

3) Technical and Economic feasibility:-

The technical feasibility should address the following issues

• Technology availability, space, skilled manpower, reliability, service etc.

• The impact of energy efficiency measure on safety, quality, production or process.

• The maintenance requirements and spares availability.

The Economic viability often becomes the key parameter for the management acceptance. The economic analysis can be conducted by using a variety of methods. Example: Pay back method, Internal Rate of Return method, Net Present Value method etc. For low investment short duration measures, which have attractive economic viability, simplest of the methods, payback is usually sufficient.

4. create financial and or tax incentives for energy efficiency: - Financial incentives for energy efficiency come in the form of tax incentives, grants and rebates, and loan programs. These incentives are among the most common ways that states promote energy efficiency. Currently in India 22 states have a tax incentive to promote energy efficiency. For example in New York govt Offers a maximum rebate of up to $850,000 for upstate residents and $1.65 million for Con Edison customers who meet the requirements of the Energy $mart New Construction Program that encourages energy efficient building practices.

5. Make early decisions about your efficiency effort:- We should make early decisions for energy audit of , it will help to save power from initializing any industry.

The National Council on Electricity Policy has also created tools and resources that can help, including guides to financing energy efficiency programs and to state programs that support energy efficiency, such as the 2006 State and Regional Policies That Promote Energy Efficiency Programs Carried out by Electric and Gas Utilities.

6 Awareness of energy issues among workers:- In the factory, doing an energy audit increases awareness of energy issues among plant personnel, making them more knowledgeable about proper practices that will make them more productive. An energy audit in effect gauges the energy efficiency of your plant against “best practices”. When used as a “baseline” for tracking yearly progress against targets, an energy audit becomes the best first step towards saving money in the production plant.

6. CONCLUTION

Energy audits provide a unique pathway for customers to save money. Energy conservation and cutting utility costs are extremely important as energy prices rise. Energy auditing is not an exact science, but a number of opportunities are available for improving the accuracy of the recommendations.  Techniques which may be appropriate for small-scale energy audits can introduce significant errors into the analyses for large complex facilities.  We began by discussing how to perform energy and demand balance for a company.  This balance is an important step in doing an energy use analysis because it provides a check on the accuracy of some of the assumptions necessary to calculate savings potential.  We also addressed several problem areas which can result in over-optimistic savings projections, and suggested ways to prevent mistakes.  Finally, several areas where additional research, analysis, and data collection are needed were identified.  Once this additional information is obtained, we can all produce better and more accurate energy audit results.

Audits are great investments for the future, often resulting in immediate returns and a quick payback.

Saving Electricity is a BRIGHT idea!

Save power, energize the future

THANK-YOU

