# To Study and Analyse Economic Load Dispatch In Power System Using Genetic Algorithm

Diksha Shende                KDKCOE, Nagpur             dikshashende20@gmail.com

Sayali Morey                  KDKCOE, Nagpur              sayalimorey132@gmail.com

Umang Meshram            KDKCOE, Nagpur              meshramumang12@gmail.com

S.R.Gawande

Abstract – This paper presents the application of Genetic Algorithm to solve the economic load dispatch problem of the power system. Economic load Dispatch is one of the major optimization problems dealing with the modern power system. The objective of Economic Load dispatch is sharing the power  demand among the on line generators while keeping the minimum cost generation as a constraint .The aim of this paper is to operate the economic load dispatch problems of power system while meeting the total load plus transmission line losses within generation limits. This work aims in modeling the economic load dispatch problem with transmission loss and is being applied to the  3 generator system using MATLAB.

Keywords—Economic Load Dispatch (ELD),Genetic    Algorithm (GA), Fuel cost.

# INTRODUCTION

Electrical power systems are designed and operated to meet the continuous variation of power demand. In power system minimization of operation cost is very important. Economic load dispatch (ELD) is a method to schedule the power generator outputs with respect to load demands and to operate the power systems most economically. To solve ELD problem some conventional methods are used. The conventional methods include Newton-Raphson method, Lamda iteration method,Base point and participation method ,Gradient method etc. However these classical dispatch algorithms require the incremental cost curves to be monotonically increasing or piece wise linear. The classical calculus based techniques fail in solving these types of problems. In this respect ,stochastic search algorithms like Genetic algorithm(GA), Evolutionary strategy(ES),Evolutionary Programming (EP), Pratical Swarm Optimization (PSO),and Simulated Annealing (SA) may prove to be very efficient in solving highly non linear ELD problem without any restrictions on the shape of the cost curves .These  methods generally provide a fast and reasonable solution .

Genetic  algorithm (GA) technique is successfully applied to ELD case. Genetic algorithm  technique is based on the theory of  natural genetics and an advantage of GA is using stochastic instead of deterministic rules to search a extinction .GA has a large potential for application in power systems   and can be applied to solve  problem  such as ELD , unit commitment ,reactive power control  etc. Another   attractive property of GA is that , that  it searches for many optimum points in parallel  .

II. ECONOMIC LOAD DISPATCH

## Economic Dispatch Load

The Economic Load Dispatch (ELD) can be defined as the  process  of  allocating  generation units ,so that  the system load is supplied  entirely and most  economically .The  method of economic load dispatch for generating units at different loads must have total fuel cost at the minimum point .The economic load dispatch is used  to define  the production level of every plant so that the total cost of transmission and generation is minimum for a prescribed panel of load .

## Generator operating cost

The running or operating cost of a unit consist of fuel cost ,maintenance cost, labour cost . Out of which the maintenance cost and the labour cost are negligible in comparison with the fuel cost .Also they are difficult to find in practice .Therefore while studying the economic operation the operating cost of generator is assumed to be the fuel cost . Therefore the economic load dispatch problem is to minimize the fuel cost to supply the required load .

Figure1.Simple model of a fossil plant

Figure 1shows the simple model  of a fossil plant dispatching process.The operating cost of a plant   has the form shown in figure 2.

Pgimin       out put power  (MW)                        Pgimax

Figure 2. operating cost of fossil fired generator

The cost is usually approximated by one or more quadratic segments. The fuel cost curve may have number of discontinuities. Within the continuity range the incremental fuel cost may be expressed by a number of short line segments or piece wise linearization .

The Pgimin is the minimum loading limit below which operating the unit proves to be uneconomical and Pgimax is the maximum output limit.

# PROBLEM FORMULATION

A .Objective Function

The objective of the economic dispatch problem is to minimize the total fuel cost of thermal power units subjected to the equality and inequality constraints of power system. The simplified cost function of every generator can be represented as a quadratic function as given (2)

F(Pgi) =mini=1NGFi (P gi  )                                (1)

Fi  (Pgi  )=ai P2gi+bi Pgi + ci  Rs/hr                        (2)

Where ai , bi , ci  are cost coefficients for ith unit , Fi (Pgi) is the total cost of generation , Pgi is the generation of ith  plant ,NG signifies the number of generators.

B .Equality and Inequality constraints

a .Active power balance equation

For power balance an equality constraint should be acquiescent. The total generated power should be the same as total load demand plus the total transmission line loss.

i=1NGPgi =PD +Ploss                                                                      (3)

Where PD is the total demand and Ploss  is the total line loss.

b. Minimum and maximum power limits

Generation output of each generator should lie between minimum and maximum limits .The compatible inequality constraints for each generator are

Pimin  Pi Pimax  (i=1,2,3,……,NG)                  (4)

Where Pgimin   is the lower permissible limit of real power generation ,Pgimax  is the upper permissible limit of real power generation.

IV. GENETIC ALGORITHM

Genetic algorithm are categorized as global search heuristics. Genetic algorithm (GA) is a search technique used in computing to find exact or approximate solutions to optimization and search problems .Genetic algorithms are a particular class of evolutionary algorithms  that use techniques inspired by evolutionary biology such as inheritance ,mutation, selection and crossover .

Genetic algorithms are implemented in a computer simulation in which a population of abstract abstract representation s(called chromosomes or the genotype of the genome)of candidate solutions (called individuals ,creatures, phenotypes) to an optimization problem evolves towards the better solutions .Traditionally ,solutions are represented in binary as string of 0s and 1s,but other encodings are also possible .The evolution usually starts from a population of randomly generated individuals and happens in generations .In each generation  the , fitness of every individual in population is evaluated ,multiple individuals are stochastically selected from the current population (based on their fitness ),and modified  to form a new population .The new population is then used in the next iteration of algorithm. Commonly , the algorithm terminates when either a maximum number of generations have been produced ,or a satisfactory fitness level has been reached for the population .If the algorithm has terminated due to a maximum number of generations ,a satisfactory solution may or may not have reached .Once we have the genetic representation and the fitness function defined ,GA proceeds to initialize a population of solutions  randomly ,and then improve it through repetitive application of mutation, crossover ,inversion ,and selection operators .

- Representation

In GA , the design variables or features that characterize an individual are represented in an ordered list called a string .Genetic algorithms  are derived from the study of biological method .In biological method evolution takes place on organic devices used to encode the structure of living beings. Each design variable corresponds to  a gene and the string of genes correspond to a chromosome. Chromosomes are built of discrete  units known as genes .Natural selection is the link between  the chromosomes and the performance of their decoded structures .These organic devices are known as chromosomes .A living being is only a decoded fabrication of  chromosomes .

## Encoding

This requires a mapping mechanism between the solution space and the chromosomes. This mapping is known as an encoding .Normally a, a chromosome corresponds to unique solution x in the solution space .The application of genetic algorithm to problem starts with encoding .In fact ,GA works on the encoding of a problem ,not on the problem itself .The encoding specifies a mapping that transforms a possible solution to a problem into a structure containing  a collection of decision variables that are relevant to a problem into a structure containing a collection of decision variables that are relevant to the problem.

- Decoding

The decoded feature values are used to compute the problem characteristics like the fitness values, constraint violation,  objective  function ,and system  statistical characteristics  like standard deviation variance ,and rate of convergence .The stages of crossover ,selection, mutation etc. are repeated till some termination condition is reached .Decoding is the process of conversion of binary structure of chromosome into decimal equivalents of the feature values. Usually this process is done after decatination  of the entire chromosome to individual chromosomes. The equivalent decimal integer of binary string ʎ is obtained as

yj  =i=1I2i-l  bij    (j=1,2,…..,L)                                 (5)

where bij  is the ith  binary digit of the jth  string ,I is the length of the string, L is the number of strings or population size .

The continuous variable ʎ can be obtained to represent a point in the search space according to a fixed mapping rule,i.e.

λj = λmin +λmax−λ2l−1minyj      (1,2,……,L)         (6)

Where λmin is the minimum number of  variable ,λmax  is the maximum value of  variable, yj  is the binary coded value of the string.

- Initialization

Initially many individual solutions are randomly generated form an initial population. Occasionally, the solutions may be “seeded” in the area where optimal solutions are likely to be found .Traditionally, covering the entire range of possible solutions, population is generated randomly.  The population size depends on nature of case, however typically contains several hundreds or thousands of  possible  solutions.

- Evaluation

The evaluation function is a procedure for establishing the fitness of each chromosome in population and is application oriented .This function is derived from the objective function and used in successive genetic operation. Suitability of the solution is determined from the initial set of solution of  the problem  .For this suitability allocation we use a function called fitness function .In the case of command interpreter routines ,the fitness is the value of objective function to be optimized .Penalty function can  also be inclusive in the objective function ,in order to achieve a constrained problem, since Genetic algorithms proceed in the direction of evolving the fittest chromosomes and the performance is highly sensitive to the fitness values.

- Fitness function

Fitness value f(x) is derived from the objective function and is used in successive genetic operations .Minimization problems are usually transferred into maximization problems using some suitable transformations .The Genetic algorithm is based on Darwin’s principle that “The candidates ,which can survive ,will live ,others would die ’’This principle is used to find fitness value of the process for solving maximization problems. The fitness function for maximization problem can be used same as the objective function F(x).

The fitness function for the maximization problem is :

F(x) = F(X)                                                       (7)

For minimization problems, the fitness function is an equivalent maximization problem chosen such that the optimal point appears stationary. The following fitness function is often used in minimization problems

F(X)=11+f(x)                                             (8)

Here f(x) is fitness function and F(X) is objective function

- Selection

Individual solutions are selected through a fitness –based  process, where  fitter solutions are more likely to be chosen. Certain selection methods rate the fitness of each solution and preferentially select the best extrication .Other methods rate only a random sample of  population, as this process may be very time consuming .During  every continuous generation ,a proportion of existing population is forced to breed a new generation .

This helps to keep the diversity of population , preventing premature convergence on beggarly solutions .

- Reproduction

The further step is to generate a second generation population of solutions from those selected through genetic operators: crossover , and / or mutation.

By producing a “Child” solution using above methods of crossover and mutation, a new solution is generated which typically shares many of the characteristics of its “Parents”. For each new solution to be produced , a pair of “ parent ’’ solution  is  selected  for breeding  from the pool selected previously. New parents are selected for every new child ,and the procedure continues  until anew population of solutions of appropriate size is created .Although  reproduction methods that are based on the use of two parents  are more “biology inspired”, some research suggests more than two “parents ’’ are better to be used to reproduce a good quality chromosome. Generally average fitness will have increased by this procedure for the population. These processes result in next generation population of chromosomes that is different from initial generation.

- Termination

This generational process is repeated until atermination condition has been attained .Common terminating conditions are :

1) A  solution is found that satisfies minimal criteria.

2) Fixed  number of generations reached

3) Allocated  budget (computation time/money) reached.

4) The  higher ranking  solutions’s  fitness   is reaching or

has reached a plateau such that successive iterations

no longer produce better results.

5) Manual inspection

6) Combinations of above

figure .Flow chart of Genetic Algorithm

V. PROPOSED ALGORITHM

The step-wise procedure is outlined below:

1.Read data, namely cost coefficients , ai ,,bi ,, ci , no. of

iterations, length of string ,population size, probability

of crossover and mutations ,power demand  and  Pmin

and Pmax .

2. Create the initial population randomly in the binary

form.

3. Decode the string , or obtain the decimal integer from

the binary string using  equation (5)

4. Calculate the power in MW generated from decoded

population  by using  equation shown below

Pij =Pimin +Pimax−Pimin2l−1yij      (i=1,2,….NG ,j=1,2,….L)

(9)

Where L is the number of string size or population

size , yij  is the binary coded value of ith  substring

5. Check  Pij

If  Pij > Pimax  , then set Pij = Pimax

If   Pij <Pimin  , then set Pij =Pimin

6. Find   fitness if (fj > fmax ) then set fmax=fj  and

If fj <fmin   then set fmin =fj

7 Find population with maximum fitness and average

fitness of the  population .

8.Select the parents for crossover using stochastic

remainder roulette wheel selection method.

9. Perform single point crossover for the selected parents.

10. Perform mutation

11. If number of iterations reaches the maximum, then go

to step 12, otherwise go to step 2.

12.The fitness that generates the minimum total

generation cost is the solution of the problem.

VI. NUMERICAL RESULTS AND DISCUSSION

The result of ELD after the implementation of proposed GA method  is discussed. The programs are implemented in MATLAB 7.6.0.The performance is evaluated considering the losses using  3 generator test system . The   coefficients   of   fuel cost and maximum and minimum power limits are given in  Table1 and loss coefficients are given in Table2 .The power demand is considered to be 150 (MW) .

Table 1: Fuel cost coefficient for 3 generator system

| Sr.no | ai | bi | ci | Pimin | Pimax |
| --- | --- | --- | --- | --- | --- |
| 1 | 200 | 7.0 | 0.008 | 10 | 85 |
| 2 | 180 | 6.3 | 0.009 | 10 | 80 |
| 3 | 140 | 6.8 | 0.007 | 10 | 70 |

Table 2: Loss coefficient PL

| Sr.no | αi | βi | γi |
| --- | --- | --- | --- |
| 1 | 0.0218 | 0.0093 | 0.0028 |
| 2 | 0.0093 | 0.0228 | 0.0017 |
| 3 | 0.0028 | 0.0017 | 0.0015 |

Table 3: Optimal Result of GA by using 3 Generators

| P1 | 34.489 |
| --- | --- |
| P2 | 64.0299 |
| P3 | 54.153 |
| Total Generation | 152.67 |
| Total Cost (Rrs/Mwhr) | 1600 |

VII. CONCLUSION

In this study, Genetic Algorithm is successfully implemented to minimize the fuel cost of the generators on two different set of problems with two different load demands .It has been observed that genetic algorithm is capable of optimizing any kind of problems irrespective of load demand. The results discussed above are obtained after significant reduction in the fuel cost of generators and satisfies each and every constraint.

REFERENCES

[1] Arunpreet Kaur, Harinder Pal Singh, Abhishek                           Bhardwaj,“Analysis of Economic Load Dispatch using        Genetic Algorithm”,International journal of application or innovation in engineering and management ,ISSN  2319-4847,volume 3,issue 3, March 2014.

[2]  Bishnusahu  , Avipsa  Lall ,  Soumya  Das , T. Manaj        Patra , “Economic Load Dispatch in power system using Genetic Algorithm”, International journal of computer application (0975-8887),volume 67-no.7,April 2013.

[3] Lahouari Abdelhakem Koridak ,Mustafa Rahli,Mimoun Younes, “ Hybrid Optimization of the Emission and  Economic Dispatch  by the Genetic  Algorithm ,”Leonardo Journal of sciences ,pp.193-203,January –June 2008.

[4] S.Roshni Mohapatra,  C.R. Pradhan , Biswajit Mohapatra, “A Comparitive Study of Economic Load  Dispatch   Problems  Using  Classical Method and  Artificial  Intellegence  Method”, ISO 3297:2007,vol.4, issue 3, March 2015.

[5] Hadi Saadat , “Power System Analysis”, Mc-Graw Hill