Display of Underground Cable Fault Distance over Internet (IOT) of Thing Using GSM

A.H. Dhodare1, A.P. Jodhe2, K.G. Wandhare3

Guide-prof. A.M. Mendhe

Department of Electrical Engineering

Lokmanya Tilak Jankalyan Shikshan Sanstha’s

Priyadarshani J. L. College of Engineering, Nagpur, India

Email: 1akshaydho.123@gmail.com, 2akshayjodhe47@gmail.com,3krushnawandhare@gmail.com

Abstract – This paper proposes fault location model for underground power cable. The objective of this project is to determine the distance of underground cable fault from the base station in kilometers and displayed over the internet. The project uses the standard theory of Ohms law, i.e., when a low DC voltage is applied at the feeder end through a series resistor (Cable lines), then the current would vary depending upon the location of the fault in the cable as the resistance is proportional to the distance. In case there is a short circuit (Line to Ground), the voltage across series resistors changes according to the resistance that changes with distance .This is then fed to an ADC to develop precise digital data which the programmed microcontroller of the 8051 family displays in kilometers. The project is assembled with a set of resistors representing the cable length in km and the fault creation is made by a set of switches at every known km to cross check the accuracy of the same. The fault occurring at a particular distance, the respective phase along with the distance is displayed on the LCD. The same information is also sent to a dedicated website over internet activated SIM with GSM, interfaced to the microcontroller.

Keywords—Underground cable, fault location, fault creation, microcontroller, GSM.

I. INTRODUCTION

Till last decade’s cables were made to lay overhead and currently it is lay to underground cable which is superior to earlier method. Because the underground cable are not affected by any adverse weather condition such as storm, snow, heavy rainfall as well as pollution. But when any fault occur in cable, then it is difficult to locate fault. So we will move to find the exact location of fault.

Now the world is become digitalized so the project is intended to detect the location of fault in digital way. The underground cable system is more common practice followed in many urban areas. While fault occurs for some reason, at that time the repairing process related to that particular cable is difficult due to not knowing the exact location of cable fault. Fault in cable is represented as:

Any defect,

Inconsistency,

Weakness or non-homogeneity that affect performance of cable.

Current is diverted from the intended path.

Caused by breaking of conductor& failure of insulation.

II. ADVANTAGES AND DISADVANTAGES OF UNDERGROUND CABLE SYSTEM

1) Advantages:

This includes aesthetics, higher public acceptance, and perceived benefits of protection against electromagnetic field radiation (which is still present in underground lines), fewer interruptions, and lower maintenance costs. Failure rates of overhead lines and underground cables vary widely, but typically underground cable outage rates are about half of their equivalent overhead line types. Potentially far fewer momentary interruptions occur from lightning, animals and tree branches falling on wires which de-energize a circuit and then reenergize it a moment later.

Primary benefits most often cited can be divided into four areas:

Potentially-Reduced Maintenance and Operating Costs:

Lower storm restoration cost

Lower tree-trimming cost

Improved Reliability:

Increased reliability during severe weather (wind related storm damage will be greatly reduced for an underground system, and areas not subjected to flooding and storm surges experience minimal damage and interruption of electric service.

Less damage during severe weather

Far fewer momentary interruptions Improved utility relations regarding tree trimming.

Improved Public Safety:

Fewer motor vehicle accidents

Reduced live-wire contact injuries

Fewer Fires

Improved Property Values:

Improved aesthetics (removal of unsightly poles and wires, enhanced tree canopies).

Fewer structures impacting sidewalks

2) Disadvantages:

The main disadvantage is that the underground cables have higher initial cost and insulation problems at high voltages.

III. TYPES OF FAULT IN UNDERGROUND CABLE

The most common types of fault that occur in underground cables are,

1) Open circuit fault.

2) Short circuit fault.

3) Earth fault.

1) Open circuit fault: When there is a break in the conductor of a cable, it is called open-circuit fault. The open-circuit fault can check by a megger. For this purpose, the three conductors of the 3 core cable at far end are shorted and earthed. Then resistance between each conductors and earth is measured by a megger. The megger will indicate zero resistance in the circuit of the conductor that is not broken. However if a conductor is broken the megger will indicate an infinite resistance.

2) Short-circuit fault: When two conductors of a multi core cable come in electrical contact with each other due to insulation failure, it is as called as short-circuit fault. Megger can also be used to check this fault. For this the two terminals of a megger are connected to any two conductors. If the megger gives a zero reading it indicates short-circuit fault between these conductors.

The same is repeated for other conductors taking two at a time.

Further short circuit fault can be categorized in two types:

a) Symmetrical fault: Three-phase fault is called symmetrical fault. In this all three phases are short circuited.

b) Unsymmetrical fault: In this fault magnitude of current is not equal not displaced by 120 degree.

3) Earth fault: When the conductor of a cable comes in contact with earth, it is called earth fault or ground fault. To identify this fault, one terminal of the megger is connected to the conductor and the other terminal connected to the earth. If the megger indicates zero reading, it means the conductor is earthed. The same procedure is repeated for other conductors of the cable.

IV. FAULT LOCATION METHODS

1) Online method: This method utilize process the sampled voltages& current to determine the fault points. Online method for underground cable are less than overhead lines.

2) Offline method: In this method special instrument is used to test out service of cable in the field. There are two offline methods as following

a) Tracer method: In this method fault point is detected by walking on the cable lines. Fault point is indicated from audible signal or electromagnetic signal. It is used to pinpoint fault location very accurately.

Example: 1) Tracing current method

2) Sheath coil method

b) Terminal method: It is a technique used to detect fault location of cable from one or both ends without tracing. This method use to locate general area of fault, to expedite tracing on buried cable.

Example:1) Murray loop method

2) Impulse current method

V. LITERATURE SOURCES

Finding the location of an underground cable fault doesn’t have to be like finding a needle in a haystack. The common methods of locating faults are

1) Sectionalizing: This procedure risks reducing cable reliability, because it depends on physically cutting and splicing the cable. Dividing the cable into successively smaller sections and measuring both ways with an ohmmeter or high-voltage insulation resistance (IR) tester enable to narrow down search for a fault. This laborious procedure normally involves repeated cable excavation.

2) Time domain reflectometry (TDR): The TDR sends a low-energy signal through the cable, causing no insulation degradation. A theoretically perfect cable returns that signal in a known time and in a known profile. Impedance variations in a “real-world” cable alter both the time and profile, which the TDR screen or printout graphically represents. One weakness of TDR is that it does not pinpoint faults.

3) Murray loop test: It is a bridge circuit used for locating faults in underground or underwater cables. It uses the principle used in potentiometer experiment. One end of the faulted cable is connected through a pair of resistors to the voltage source. Also a null detector is connected. The other end of the cable is shorted. The bridge is brought to balance by changing the value of RB.

Figure .1.Murray Loop Test

In above figure, RC is proportional to (l+ (l-x)) and RD is proportional to l. Therefore

RA/RB=r=RC/RD = (2l-x)/x (1)

And hence

x= 2l/(r-1) (2)

Where l is the length on each segment of wire, r is the ratio RA/RB and x is the length of faulty segment.

The main disadvantage of this method assumes that only a single fault exists, a low resistance when compared with UG cable resistance and cable conductors have uniform resistance per unit length.

4) Varley loop test: If the fault resistance is high , the sensitivity in Murray bridge is reduced and Varely loop may be more suitable but only a single fault exists. Except that here the ratio arms are fixed and a variable resistance is connected to the test end of the faulty cable.

The drawbacks of the above methods can be overcome to certain extent by this method in which the concept of OHM’s law is applied.

VI. EXPERIMENTAL SETUP

The project uses the simple concept of Ohms law, i.e., when a low DC voltage is applied at the feeder end through a series resistor (Cable lines), then the current would vary depending upon the location of the fault in the cable as the resistance is proportional to the distance. In case there is a short circuit (Line to Ground), the voltage across series resistors changes according to the resistance that changes with distance .This is then fed to an ADC to develop precise digital data which the programmed microcontroller of the 8051 family displays in kilometers.

Figure.2 .Block Diagram

Explanation: The project is assembled with a set of resistors representing the cable length in km and the fault creation is made by a set of switches at every known km to cross check the accuracy of the same. The fault occurring at a particular distance, the respective phase along with the distance is displayed on the LCD.

The same information is also sent to a dedicated website over internet activated SIM with GSM, interfaced to the microcontroller.

Furthermore, this project can be enhanced by using capacitor in an AC circuit to measure the impedance which can even locate the open circuited cable, unlike the short circuited fault that uses only resistors in DC circuit as followed in the above proposed project.

VII. ALGORITHM AND FLOWCHART

Algorithm:

Step1: Initialize the ports, declare timer, ADC, LCD functions.

Step2: Initialize GSM and GPRS system.

Step3: Start ADC function and scan cables or check RYB fault.

Step4: If any fault is occurred then display it on LCD as well

as send the data using GPRS command and repeat the

step3

Step5: If no fault is occur then display NF on LCD as well as

send data to webpage.

Step6: Repeat step3 for other two phases.

Flow Chart:

VII. CIRCUIT DICRIPTION

Figure.3. Circuit Diagram

1) Power Supply:-The circuit uses standard power supply comprising of a step-down transformer from 230Vto 12V and 4 diodes forming a bridge rectifier that delivers pulsating dc which is then filtered by an electrolytic capacitor of about 470μF to 1000μF. The filtered dc being unregulated, IC LM7805 is used to get 5V DC constant at its pin no 3 irrespective of input DC varying from 7V to 15V. The input dc shall be varying in the event of input ac at 230volts section varies from 160V to 270V in the ratio of the transformer primary voltage V1 to secondary voltage V2 governed by the formula V1/V2=N1/N2. As N1/N2 i.e. no. of turns in the primary to the no. of turns in the secondary remains unchanged V2 is directly proportional to V1. Thus if the transformer delivers 12V at 220V input it will give 8.72V at 160V.Similarly at 270V it will give 14.72V.Thus the dc voltage at the input of the regulator changes from about 8V to 15V because of A.C voltage variation from 160V to 270V the regulator output will remain constant at 5V.

The regulated 5V DC is further filtered by a small electrolytic capacitor of 10μF for any noise so generated by the circuit. One LED is connected of this 5V point in series with a current limiting resistor of 330Ω to the ground i.e., negative voltage to indicate 5V power supply availability. The unregulated 12V point is used for other applications as and when required.

2) Reset: Pin no 9 is provided with a re-set arrangement by a combination of an electrolytic capacitor and a register forming RC time constant. At the time of switch on, the capacitor gets charged, and it behaves as a full short circuit from the positive to the pin number 9. After the capacitor gets fully charged the current stops flowing and pin number 9 goes low which is pulled down by a 10k resistor to the ground. This arrangement of reset at pin 9 going high initially and then to logic 0 i.e., low helps the program execution to start from the beginning. In absence of this the program execution could have taken place arbitrarily anywhere from the program cycle. A pushbutton switch is connected across the capacitor so that at any given time as desired it can be pressed such that it discharges the capacitor and while released the capacitor starts charging again and then pin number 9 goes to high and then back to low, to enable the program execution from the beginning. This operation of high to low of the reset pin takes place in fraction of a second as decided by the time constant R and C. For example: A 10μF capacitor and a 10kΩ resistor would render a 100ms time to pin number 9 from logic high to low, there after the pin number 9 remains low.

3) External access (EA): Pin no 31 of 40 pin 8051 microcontroller termed as EA¯ is required to be connected to 5V for accessing the program form the on chip program memory. If it is connected to ground then the controller accesses the program from external memory. However in this project internal memory it is always connected to +5V.

4) ULN 2003 relay driver IC: ULN2003 is an IC which is used to interface relay with the microcontroller since the output of the micro controller is maximum 5V with too little current delivery and is not practicable to operate a relay with that voltage. ULN2003 is a relay driver IC consisting of a set of Darlington transistors. If logic high is given to the IC as input then its output will be logic low but not the vice versa. Here in ULN2003 pins 1 to 7 are IC inputs and 10 to 16 are IC outputs. If logic 1 is given to its pin no 1 the corresponding pin 16 goes low. If a relay coil is connected from positive to the output pin of the uln2003, (the relay driver) then the relay contacts change their position from normally open to close the circuit as shown below.

Figure.4. Relay Driver and Relay

5) MAX232: The MAX232 is an integrated circuit that converts signals from an RS-232 serial port to signals suitable for use in TTL compatible digital logic circuits. The MAX232 is a dual driver/receiver and typically converts the RX, TX, CTS and RTS signals.

The drivers provide RS-232 voltage level outputs (approx. ± 7.5 V) from a single + 5 V supply via on-chip charge pumps and external capacitors. This makes it useful for implementing RS-232 in devices that otherwise do not need any voltages outside the 0 V to + 5 V range, as power supply design does not need to be made more complicated just for driving the RS-232 in this case. The receivers reduce RS-232 inputs (which may be as high as ± 25 V), to standard 5 V TTL levels. These receivers have a typical threshold of 1.3 V, and a typical hysteresis of 0.5. The later MAX232A is backwards compatible with the original MAX232 but may operate at higher baud rates and can use smaller external capacitors (0.1 μF) in place of the 1.0 μF capacitors used with the original device. The newer MAX3232 is also backwards compatible, but operates at a broader voltage range, from 3 to 5.5V.

6) DB9 Connector: The DB9 (originally DE-9) connector is an analog 9-pin plug of the D-Sub miniature connector family (D-Sub or Sub-D). The DB9 connector is mainly used for serial connections, allowing for the asynchronous transmission of data as provided for by standard RS-232 (RS-232C).

7) GSM Modem: A GSM modem is a specialized type of modem which accepts a SIM card, and operates over a subscription to a mobile operator, just like a mobile phone. From the mobile operator perspective, a GSM modem looks just like a mobile phone.When a GSM modem is connected to a computer, this allows the computer to use the GSM modem to communicate over the mobile network. While these GSM modems are most frequently used to provide mobile internet connectivity, many of them can also be used for sending and receiving SMS and MMS messages.

IX. OPERATIONAL EXPLANATION

1) Connections: The output of the power supply which is 5v is given to the 40rth pin of microcontroller and GND is connected to its 20th pin. Port 1.0 to 1.3 of microcontroller is given to 18 to 15 pin of ADC0804. Relay’s 1, 2, &3 are given to pins 1B, 2B&3B of ULN2003A and port0.0 to 0.2 of microcontroller. Port 3.0 to 3.5 of microcontroller are given to pin 2, 3, and 5 of

ADC0804. Pin’s 16,15,14 of ULN2003A are given to relay’s RL1,RL2,RL3 which drives set of resistor’s (R17, R16, R15, R14), (R21,R20,R19,R18) and (R25, R24, R23, R22).

2) Working: The project uses four sets of resistances in series representing cables i.e. R10, R11, R12, R13 and R17,R16,R15,R14,then R21, R20,R19,R18, then R25, R24, R23, R22 as shown in the circuit diagram, one set for each phase. Each series resistors represents the resistance of the underground cable for a specific distance thus 4 such resistances in series represent 14kms. 3 relays are used to common point of their contacts are grounded while the NO points are connected to the input of the R17, R21 & R25 being the 3 phase cable input. R10 is fed with a series resistor R1 to 5v supply. The common point of R10 & R1 is given to input pin of 6 of ADC0804 duly wired as explained above.

X. OPERATING PROCEDURE

While any of the 12switches (representing as fault switches) are operated they impose conditions like line to ground (LG), line to line (LL), line to line to line(3L) fault as per the switch operation. The program while executed continuously scans by operating the 3relays in sequence of 1sec interval. Thus any NO point while driven to GND through the common contact point of the relay develops a current flow through R1 & any of the cable by the fault switch depending on the created fault. Thus the voltage drop at the analog to digital (ADC) pin varies depending on the current flow which is inversely proportional to the resistance value representing the length of cable in kilometers. This varying voltage is fed to the ADC to develop an 8 bit data to the microcontroller port1. Program while executed displays an output in the LCD display upon the distance of the fault occurring in km’s. In a fault situation it display’s R=3km if the 3km’s switch is made ON. Accordingly all other faults are indicated.

Figure.5. Resistor and Switch (Cable Part)

XI. OBSERVATION AND RESULT

By using this project we can find out the particular location of the underground cable fault, when the fault occurs at some distance then the phase & the distance are shown on the LCD display. The related information is sent to a website over internet activated SIM with GSM interfaced to the microcontroller. And show the result in graphical format to a website together using a GSM MODUL.

XII. CONCLUSION

In this project we detect the exact location of underground cable fault from the base station in kilometers and displayed over the internet. For this we use simple concept of OHM’s law so fault can be easily detected and repaired.

XIII. FUTURE SCOPE

This project can be enhanced by using capacitor in an AC circuit to measure the impedance which can even locate the open circuited cable, unlike the short circuited fault that uses only resistors in DC circuit as followed in the above proposed project.

REFERENCES

- Qinghai Shi, Troeltzsch U, Kanoun O. Detection and localization of cable faults by time and frequency domain measurements. Conf. Systems and Signals and Devices, 7th International conference, Amman. 2010; 16.

- B. Clegg, Underground Cable Fault Location. New York: McGraw- Hill, 1993.

- M.-S. Choi, D.-S. Lee, and X. Yang, “A line to ground fault location algorithm for underground cable system,” KIEE Trans. Power Eng., pp. 267–273, Jun. 2005.

- E. C. Bascom, “Computerized underground cable fault location expertise, ”in Proc. IEEE Power Eng. Soc. General Meeting, Apr. 10–15,1994, pp. 376–382.J. Clerk Maxwell, A Treatise on Electricity and Magnetism, 3rded., vol. 2. Oxford: Clarendon, 1892, pp.68–73.

- K.K. Kuan, Prof. K. Warwick, “Real-time expert system for fault location on high voltage underground distribution cables”, IEEE PROCEEDINGS-C, Vol. 139, No. 3, MAY 1992.

- J. Densley, “Ageing mechanisms and diagnostics for power cables—an overview,” IEEE Electr. Insul. Mag., vol. 17, no. 1, pp. 14–22, Jan. /Feb. 2001.

- T. S. Sidhu and Z. Xu, “Detection of incipient faults in distribution underground cables”, IEEE Trans. Power Del., vol. 25, no. 3, pp. 1363–1371, Jul. 2010.

- Tarlochan S. Sidhu, Zhihan Xu, “Detection of Incipient Faults in Distribution Underground Cables”, IEEE Transactions on Power Delivery, Vol. 25, NO. 3, JULY 2010.

- Md. Fakhrul Islam, Amanullah M T Oo., Salahuddin. A. Azad1 , “Locating Underground

- International Journal of Electrical, Electronics and Computer Systems (IJEECS) Papers.

REFERENCES

1) Qinghai Shi, Troeltzsch U, Kanoun O. Detection and localization of cable faults by time and frequency domain measurements. Conf. Systems and Signals and Devices, 7th International conference, Amman. 2010; 16.

2) B. Clegg, Underground Cable Fault Location. New York: McGraw- Hill, 1993.

3) M.-S. Choi, D.-S. Lee, and X. Yang, “A line to ground fault location algorithm for underground cable system,” KIEE Trans. Power Eng., pp. 267–273, Jun. 2005.

4) E. C. Bascom, “Computerized underground cable fault location expertise, ”in Proc. IEEE Power Eng. Soc. General Meeting, Apr. 10–15,1994, pp. 376–382.J. Clerk Maxwell, A Treatise on Electricity and Magnetism, 3rded., vol. 2. Oxford: Clarendon, 1892, pp.68–73.

5) K.K. Kuan, Prof. K. Warwick, “Real-time expert system for fault location on high voltage underground distribution cables”, IEEE PROCEEDINGS-C, Vol. 139, No. 3, MAY 1992.

6) J. Densley, “Ageing mechanisms and diagnostics for power cables—an overview,” IEEE Electr. Insul. Mag., vol. 17, no. 1, pp. 14–22, Jan. /Feb. 2001.

7) T. S. Sidhu and Z. Xu, “Detection of incipient faults in distribution underground cables”, IEEE Trans. Power Del., vol. 25, no. 3, pp. 1363–1371, Jul. 2010.

8) Tarlochan S. Sidhu, Zhihan Xu, “Detection of Incipient Faults in Distribution Underground Cables”, IEEE Transactions on Power Delivery, Vol. 25, NO. 3, JULY 2010.

9) Md. Fakhrul Islam, Amanullah M T Oo., Salahuddin. A. Azad1 , “Locating Underground

10) International Journal of Electrical, Electronics and Computer Systems (IJEECS) Papers.