Phase Change Material Review

Akshay R Hedaoo

8149219397

Student Of Mechanical Department

Kdkce

Nagpur, Maharashtra, India

Akshayhedaoo11@Gmail.Com

Abstract – Thermal energy storage has gained increasing interest in past decade. While the storage of heat as sensible heat is established in  many  applications,  the storage  of  heat as latent heat is not  yet as  wide spread.  The storage of  heat as  latent  heat  using  the  phase  change  solid-liquid promises high storage density in small temperature range around the melting point. Due to its low cost, high storage capacity,  and  suitable  melting  temperature  for applications,  water  is  by  far  the  most  commonly  used PCM for  cooling applications.  They  range  from  cooling food and beverages to space cooling and process cooling. capacity  in  large  ice  storage  is  quite  significant. Application  of  other  PCM  have  by  far  not  reached  a comparative market penetration.  However, they promise better  efficiency  in  many  cooling  as  well  as  heating applications.  To  develop  this  potential,  current  R&D focuses,  among  other things,  on improving the technical

properties and performance of these PCM.

Keyword: thermal  energy  storage,  phase  change materials, PCM, applications.

# Introduction

Energy  storage  is  a  key  issue  to  be  addressed  to  allow intermittent energy sources, typically renewable sources, to match energy supply with demand. There are numerous storage technologies that are capable of storing energy in various forms  including  kinetic  energy,  chemical solutions, magnetic fields, or other novel approaches.

PCM  is  substance  with  a  high  heat  of  fusion  which, melting and solidifying at certain temperature, is capable of storing and releasing large amounts of energy. Heat is absorbed  or  released  when  the  material  changes  from solid  to  liquid and  vice  versa.  Phase  change  material  or PCM have the capacity to store and release large amount of energy that energy is called latent heat. Each PCM has specific  melting  and  crystallisation  temperature  and  a specific latent heat storage capacity.

# Phase Change Material (PCM)

Phase  change materials  are a  class of  material that use  a phase transition to store energy. A phase transition occurs when  a  material  changes  from  one  state  of  matter  to another  without  changing  it  chemical  composition,  for example  from  liquid  to  solid  or  from  solid  to  gas. Although transitions  involving  gas  have  very  large enthalpies of transition, containing a large mass of gas is very  difficult,  requiring  expensive  and  potentially dangerous pressure vessels. Therefore almost all practical PCMs  will  have  solid-liquid  transition  [1].  There  are some  materials  that  exhibit  solid-solid  transitions; these have  a  much  lower  enthalpy  of  transition.  Solid-solid transition involve a  change in the crystal structure of the material,  for  example  iron  changes  from  body-centred cubic  to  face-centred  cubic  at  1185K[2].  Solid-solid transitions  are  advantageous  from  the  perspective  that they  do  not  require  containment  the  way  solid-solid material do [3] [4].

# Selection Criteria Of PCM

A good  PCM  must  meet  certain  criteria  and  possess certain material characteristics. These have been listed in a number of reviews  by various  authors  and  they  are summarized below:-[1] [5] [6] [7] [8] [9].

- Thermodynamic criteria

- The  material  should  have  a  large  enthalpy  of transition, i.e. latent heat  H.

- Material should have a high heat capacity in both the liquid and solid phase.

- The PCMs  should  have  an  appropriate  melting point.

- High thermal conductivity

- Kinetic Criteria

- PCM  should  exhibits  a  small  amount  of  super ,  which  occurs  when  a  material  fails  to crystallize at its melting temperature.

- The crystal growth rate of the material must also be high.

- Other Criteria

- PCM must have long term chemical stability.

- PCM should have be non-corrosive.

- PCM  should  have  be  non-flammable  and  non-Toxic

- Cost of PCM must be low.

- PCM should not contain any rare element.

- Material should be eco-friendly.

No single material can possibly fulfil all of these stringent requirements, and engineering solutions must be made to accommodate any shortfalls.

# Types Of PCM

Largely through the work of Lane a few broad categories of potential PCMs were delineated [10] [11]. Lane sorted through tens of thousands of materials to find candidates that  could  be good  PCMs. There are two main  type that naturally form,  inorganic  and  organic,  which are broken up into several major subtypes.

In  the  organic  group  there  are  metals,  salts  hydrates, water, and salts. Organic PCMs includes paraffin waxes,

which are long chain hydrocarbons; fatty acids and esters; sugar  alcohols;  and  other  miscellaneous  organic compounds. Additionally there  are  mixture of  the above categories both in eutectic and non-eutectic mixture.

- Organic PCM

- Paraffin

Paraffin  of  type  CnH2n+1  are  a  group  of  saturated hydrocarbons  with  very  similar  properties.  Paraffin between C5 and C15 are  liquids  and  the  rest  are  waxy Solids.  Paraffin  wax is  one  of  the  most  popular  organic heat storage PCM for commercial applications. It consists of a straight  chain  hydrocarbons  having  melting temperature between 23ºC and 67ºC [12]. Paraffin are available in large temperature range, Paraffin have no tendencies to super cool. Paraffin are chemically stable. Paraffin waxes show high heats of fusion. Paraffin waxes don’t  segregate. Paraffin  waxes  are  safe.  Paraffin are non-corrosive. [12][13].

Paraffin has  low  thermal  conductivity.  High  volume change between the solid and liquid phases. Commercial paraffin  do  not  sharp  exact  melting  point  Paraffin  are flammable. Pure paraffin are expensive. [12][13].

- Non-Paraffin

The non-paraffin organic are most numerous of the PCMs with  highly  varied  properties.  Non-paraffin  organic

PCMs  are  characterised by  their varied  properties.  Each of these materials will have its own properties unlike the paraffin’s, which have very similar properties. Abhat et al [14],  Buddhi  and  Sawhney  [15]  have  conducted  an extensive survey and recognised a number of esters, fatty acids,  alcohols,  and  glycols  suitable  for  thermal  energy storage. These organic materials are subdivided into fatty acids and other non-paraffin organic [13]. These materials are flammable  and should not  be exposed to excessively high  temperature, flames  or oxidizing agents.  Following are  some  features of non-paraffin  [13].Non-paraffin has High  heat  of  fusion.  Non-paraffin  has  Low  thermal conductivity,  Low  flash  points.  Non-paraffin  are Inflammable.  Non-paraffin  has  Instability  at  high temperature. Varying level of toxicity.

- Fatty Acids

General  formula  for  all  the  fatty  acid  is  given  by  CH (CH2)2n x COOH. Fatty acids have the same characteristic as paraffin and  have high values  of latent  heat  of fusion compared to paraffin. Fatty acids have the ability of many cycling  of  melting  and  freezing  with  no  super  cooling, and they are characterised  by  sharper phase temperature than  technical  grade  paraffin.  The  major  drawback  of fatty acids is their high cost that is 2-2.5 times greater than that of the technical grade paraffin. Additionally they are mild corrosive. [13].

- Inorganic PCM

Inorganic  phase  change  materials  are  classified  as  salt hydrates  and metallic.  These  phase  change  materials  do not supercool appreciably and their heats of fusion do not degrade with cycling.

- Salt Hydrates

Salt hydrates  consist  of a salt and water that  combine in crystalline matrix when the material solidifies. There are many different  salt hydrates  having melting temperature ranges  between 15ºC-117ºC. Salt hydrate  are considered as  the  most  important  group  of  PCMs  that  have  been studied  for  application  in  latent  thermal  energy  storage system. [12].

Salt hydrates has High latent heat of fusion per unit mass of  volume  (higher  than  paraffin)  It  has  High  thermal conductivity  (compared  to  paraffin)  And  Have  sharp phase  change  temperature.  Salt  hydrates  has  Small volume  changes during melting. It has  High availability And Low cost.

Segregation  is  the  formation  of  other  hydrates  or dehydrated salts that settle and reduce the volume that is available  for  thermal  energy  storage.  Salt  hydrate  show super  cooling  because  they  are  unable  to  start crystallization at the freezing temperature. This problem can be avoided by using nucleating agents. Salt  hydrates causes  corrosion  in  metal  container,  whereas  metal containers are common containers used in thermal energy storage system.

- Metallic

Metallic  include  the  low  melting  metals  and  metal eutectics. Metallic have not been strongly studied as PCM for latent heat storage because of their heavy weights. For the applications that  weight is not important  issue while volume is an important parameter, metallic are attractive because of their high heat of fusion per unit volume. [13] Some features of these materials are:

It  has Low heat of fusion  per unit weight,  High  heat  of fusion  per  unit  volume  and  High  thermal  conductivity. Metallic has Low specific heat and relatively low vapour pressure.

- Eutectics

The  eutectic  consist  of two  or  more  components  where each  of  them  melts  and  freezes  congruently  forming mixture  of  a  component  that  crystals  during crystallization  process.  Usually  eutectic  melt and  freeze without  segregation.  During  melting  process,  both components  liquefy  at  the  same  without  possibility  of separation.

# Energy Storage

Thermal energy storage can have a positive impact in the form if increasing the reliability of the system, improving the  functioning  of  the  power  plants  and  energy  system, reducing energy purchase costs by shifting energy surplus from period of lower to period of higher demand.

During day time when solar energy collection takes place and  terminates  with  complete  melting  of  the  PCM, charging  of  the  store  does  not  terminate  with  complete melting of the PCM if the inlet fluid temperature is above the melt temperature, charging of sensible heat continues.

Heat transfer fluid  exit  temperature  is  time  dependent because the rate  of the  solidification of the PCM varies with  time.  This  mode  terminates  with  complete solidification of the PCM.

Latent  heat  storage  system  have  many  advantages  like large  hear  storage  capacity  in  a  unit  volume  and  their isothermal behaviour during the charging and discharging process.

Al-Jandal  and  Sayigh  [16]  studied  the  thermal performance  characteristics  of  a  solar  tube  collector (STC) system with phase change storage analytically and experimentally.  STC  performance  during  charging  is studied and it is concluded that fin  structure are strongly affecting the melting process.

Mehling et sl [17] concluded that placing PCM module at the top the water tank in TES (thermal energy storage) has given  higher  storage  density  and  compensated  the  heat loss  at  the  top  surface  by  doing  both  numerical  and experimental investigation.

# Application Of Phase Change Material Include, But Are Not Limited To

- Thermal energy storage

- Conditioning of buildings, such as 'ice-storage'

- Cooling of heat and electrical engines

- Cooling:  food,  beverages,  coffee,  wine,  milk, products, green houses

- Medical  applications:  transportation  of  blood, operating tables, hot-cold therapies, treatment of birth asphyxia

- Human  body  cooling  under  bulky  clothing  or costumes.

- Waste heat recovery

- Off-peak  power  utilization:  Heating  hot  water and cooling

- Heat pump systems

- Passive  storage  in  bioclimatic building/architecture (HDPE, paraffin)

- Smoothing  exothermic  temperature  peaks  in chemical reactions

- Solar power plants

- Spacecraft thermal systems

- Thermal comfort in vehicles

- Thermal protection of electronic devices

- Thermal  protection  of  food:  transport,  hotel, trade, ice-cream, etc.

- Textiles used in clothing

- Computer cooling

- Turbine  Inlet  Chilling  with  thermal  energy storage

Telecom shelters in tropical regions. They protect the  high-value  equipment  in  the  shelter  by keeping  the  indoor  air  temperature  below  the

maximum  permissible  by  absorbing  heat generated by  power-hungry equipment such as a Base  Station  Subsystem.  In  case  of  a  power failure  to  conventional  cooling  systems,  PCMs minimize  use  of  diesel  generators,  and  this  can translate into enormous savings across thousands of telecom sites in tropics.

# Conclusion

Energy  storage  can  reduce  the  time  between  energy supply  and  demand,  thereby  PCM  plays  a  vital  role  in energy storage and energy  conservation. Heat storage in phase  change  material  (PCM)  has  an  advantage  of compactness and heat supply at constant temperature.

# References

- Belton,  G.  and  Ajami,  F.  Thermochemistry  of  salt hydrates  Technical  Report NSF/RANN/SE/GI27976/TR/73/4  University  of Pennsylvania (1973).

- Haynes,  W.,  Lide,  D.,  and  Bruno,  T.  (2012)  CRC Handbook  of  Chemistry  and  Physics,  CRC  Press, Cleveland, Ohio http://hbcpnetbase.com/.

- Hong,  Y.  and  Xin-shi,  G.  (2000)  Solar  Energy Materials and Solar Cells 64(1), 37 – 44.

- Zhang,  L.-J.,  Di,  Y.-Y.,  Tan,  Z.-C.,  and  Dou,  J.-M. (2012) Solar Energy Materials and Solar Cells 101(0), 79– 86.

- Zalba,  B., Mar´in, J.  M., Cabeza,  L.  F.,  and Mehling, H. (2003) Applied Thermal Engineering 23(3), 251 – 283.

- Sharma, A., Tyagi, V., Chen, C., and Buddhi, D. (2009) Renewable and Sustainable Energy Reviews 13(2), 318 –345.

- Abhat, A. (1983) Solar Energy 30(4), 313–332.

- Agyenim,  F.,  Hewitt,  N.,  Eames,  P.,  and  Smyth,  M. (2010)  Renewable  and  Sustainable  Energy  Reviews 14(2), 615 – 628.

- Tyagi,  V.  V.  and  Buddhi,  D.  (2007)  Renewable  and Sustainable Energy Reviews 11(6), 1146 – 1166.

- Lane,  G. A. (1983) Solar  Heat  Storage: Background and  Scientific  Principles,  CRC  Press,  Boca  Baton, Florida.

- Lane,  G.  A.  (1986)  solar  heat  storage:  Latent  Heat Materials, CRC Press, Boca Baton, Florida.

- Sharma  Someshower  Dutt,  Kitano  Hiroaki,  and Sagara  Kazunobu,  “Phase  Change  Materials  for  Low Temperature  Solar  Thermal  Applications’’,  Res.  Rep. Fac. Eng. Mie Univ., Vol. 29, pp. 31-64, 2004.

- Sharma Atul, Tyagi V.V., Chen C.R., and BuddhiD., “Review on Thermal Energy Storage with Phase Change Materials and Applications’’, Renewable and Sustainable Energy Reviews, Vol. 13, pp. 318–345, 2009.

- Abhat  A,  et  al.,  “Development  of  a  Modular  heat Exchanger  with  an  Integrated  Latent  heat  Storage”, Report  no.  BMFT  FBT  8  -050,  German  Ministry  of Science and Technology, Bonn, 1981.

- Farid  Mohammed  M.,  Khudhair  Amar  M.,  Razack Siddique Ali K., and Al-Hallaj Said, “A Review on Phase Change  Energy  Storage:  Materials  and  Applications’’ Energy Conversion and Management, Vol. 45, pp. 1597–1615, 2004.

- S.  S.  Al-Jandal  and  A.  A.  M.  Sayigh,  Thermal performance  Characteristics  of  STC  system  with  phase change  storage,  Renewable  Energy,  5  (1994), 390–399.

- H. Mehling, L. F. Cabeza, S. Hippeli, and S. Hiebler, PCMmodule  To  improve  hot  water  heat  stores  with stratification, Renewable Energy, 28 (2003), 699–711.